## Wekomm3
Adjustment Procedure for compensate beta(and alpha) | [18 empty] | Result After Compensation
1. Type in the necessary data: nomonal, Rm, tempco, in blue backgraound | [15 empty] | Sensitivity Analysis |  |  | Value | 9999.9999 | @23 deg C
2. Type in NTC value and its B value in light green cells | [8 empty] | Rp |  | NTC |  |  |  |  | Param | 100ppm | allowed | Deviation | -0.0074731 | ppm @23C
3. Adjust Rp so that the red line of chart 'Final' is straight | [8 empty] | 18300000 |  | 231000 |  |  |  |  | Rm | 99.8901 | 0.10011 | Box variation | 0.010975 | ppm 18C-23C
(increase if concaved, decrease if convexed) | [15 empty] | Rp | 0.053232 | 187.8571 | Alpha23 | 0.001722 | ppm/C @23C
(if the constant of the second order is positive, it concaved) | [9 empty] | B: | 4114 |  |  |  |  | NTC | 0.00067194 | 14882.1845 | Box TC | 0.0010975 | ppm/C
(so, if that constan is positive, increase Rp) | [8 empty] | Rm |  |  |  | Rc |  | Rs |  |  |  | Result Before Compensation
4. Adjust Rc so that the red line become flat | [6 empty] | Nominal |  | 9999.9228 |  |  |  | 1.9325 |  | 3.3426 | Rc | 0.019325 | 517.4644 | Deviation | -7.72 | ppm @23C
(increase Rc if descends, decrease if ascends) | [6 empty] | 10000 | [8 empty] | Rs | 0.033426 | 299.1683 | Box variation | 4.732 | ppm 18C-23C
5. Repeat step 3 and 4 if not satisfied | [18 empty] | Alpha23 | -0.4732 | ppm/C @23C
6. Adjust Rs for minimum deviation | [7 empty] | alpha23 | -0.4732 | ppm/C |  | TC Rc | 4250 | ppm/C |  |  |  |  | Box TC | 0.4732 | ppm/C
7. Refer to 'Result after compensation' table to confirm | [7 empty] | beta | -0.0091 | ppm/C2 | [8 empty] | Improved, times
8. Refer to 'Sensitivity Analysis' table | [12 empty] | 爬升：需减少Rc | [5 empty] | Deviation | 1033.0454
[9 empty] | 凹：需要增大Pp、减少NTC |  |  |  | 下降：需增大Rc | [5 empty] | Box variation | 431.1428
298.15 | 25 | [7 empty] | 凸：需要减少Pp、增大NTC | [9 empty] | Alpha23 | 274.8008
Tn | Temp | Rm | NTC | Rm¦¦(Rp+NTC) | Final | shift Rm | SR104 | [11 empty] | Box TC | 431.1428
291.15 | 18 | 9999.9442 | 321876.3766 | 9994.5771 | 10000 | 10000.0214 | 10000.0015
291.65 | 18.5 | 9999.9423 | 314172.7549 | 9994.5729 | 10000 | 10000.0195 | 10000.0024
292.15 | 19 | 9999.9403 | 306678.9359 | 9994.5688 | 10000 | 10000.0175 | 10000.0032
292.65 | 19.5 | 9999.9382 | 299388.56 | 9994.5647 | 9999.9999 | 10000.0154 | 10000.0038
293.15 | 20 | 9999.9362 | 292295.4791 | 9994.5606 | 9999.9999 | 10000.0134 | 10000.0043
293.65 | 20.5 | 9999.9341 | 285393.7485 | 9994.5565 | 9999.9999 | 10000.0113 | 10000.0046
294.15 | 21 | 9999.9319 | 278677.6204 | 9994.5524 | 9999.9999 | 10000.0091 | 10000.0048
294.65 | 21.5 | 9999.9297 | 272141.5361 | 9994.5483 | 9999.9999 | 10000.0069 | 10000.0048
295.15 | 22 | 9999.9274 | 265780.1194 | 9994.5442 | 10000 | 10000.0046 | 10000.0047
295.65 | 22.5 | 9999.9251 | 259588.1704 | 9994.5401 | 10000 | 10000.0023 | 10000.0044
296.15 | 23 | 9999.9228 | 253560.6589 | 9994.536 | 10000 | 10000 | 10000.004
296.65 | 23.5 | 9999.9204 | 247692.7188 | 9994.5319 | 10000 | 9999.9976 | 10000.0034
297.15 | 24 | 9999.918 | 241979.6416 | 9994.5278 | 10000 | 9999.9952 | 10000.0027
297.65 | 24.5 | 9999.9155 | 236416.8715 | 9994.5237 | 10000 | 9999.9927 | 10000.0018
298.15 | 25 | 9999.913 | 231000 | 9994.5196 | 10000 | 9999.9902 | 10000.0008
298.65 | 25.5 | 9999.9104 | 225724.7602 | 9994.5155 | 10000 | 9999.9876 | 9999.9996
299.15 | 26 | 9999.9078 | 220587.0224 | 9994.5114 | 10000 | 9999.985 | 9999.9983
299.65 | 26.5 | 9999.9051 | 215582.789 | 9994.5073 | 10000 | 9999.9823 | 9999.9968
300.15 | 27 | 9999.9024 | 210708.1902 | 9994.5032 | 10000 | 9999.9796 | 9999.9952
300.65 | 27.5 | 9999.8997 | 205959.4792 | 9994.499 | 10000 | 9999.9769 | 9999.9934
301.15 | 28 | 9999.8969 | 201333.0283 | 9994.4949 | 9999.9999 | 9999.9741 | 9999.9915
Note on V2: ZhangLM: partial differential first, then divided by nominal value, finally times its own.
Note on W3: ZhangLM: The change of the final result from 100ppm change of the parameter
Note on X3: ZhangLM: ppm change allowed for the parameter when final result change 0.1ppm
Note on N4: ZhangLM: SHIBAURA Pxx-312
Note on Z4: ZhangLM: Box height, max-min in 18 to 23 deg C
Note on Z9: ZhangLM: Box height, max-min in 18 to 23 deg C
Note on Z14: ZhangLM: Box height, max-min in 18 to 23 deg C